MANUAL

How to initialize the U 952

1 st: Start the program „Network Enabler Administrator“:

2 nd: Broadcast search

The following window appears and disappears after finished search:

At „Configuration“ the device will be displayed

3 rd: Click on „COM Mapping“

The following window appears:

4 th: Make a right mouse click on “COM Mapping” and choose the option “Add target”

The view will change like on next picture:

5 th: Click on OK

Than the target is added:

COM 4 will be emulated

6 th: Start HE programming Software and create a new project like below:

7 th: Choose as COM port “COM 4” like in the example

8 th: Change to COM 4:

9 th: If the message “COM 4 can not be opened” occurs, please close HE programming software and retry. I experienced this error message as well and after restarting the HE programming software it worked. 